## Threat/Hazard:

| ### BEFORE |  |
| --- | --- |
| Goal: | Prevent damage from flooding that may occur as a result of many possible causes |
| Objective(s): | - Inspect roofs semiannually - Inspect gutters and downspouts each Spring and Fall - Check sump pumps and replace batteries annually - Inventory equipment and update inventory lists annually - Back-up important documents and scan or photograph as needed - Confirm insurance policy coverage |
| Courses of Action: | A biannual cleanup day will be scheduled to include items listed above. Note: In some cases, you might create a list for cleanup/volunteer work days. Other items might require specific assignment of church staff. |
| DURING |  |
| Goal: | Limit the damage caused by flooding expedite recovery steps |
| Objective(s): | - When safe, begin removal of standing water - Contact Service Master or other company to assist with large-scale damage - Move furniture or other times that can be damaged before water rises - Move computers or other electronics off the floor |
| Courses of Action: | Courses of action include descriptions of how you will accomplish the objectives listed above. This may be dependent on the size of your parish and the available resources. |
| AFTER |  |
| Goal: | Expedite short term recovery efforts and return to normal operations, if possible. |
| Objective(s): | - Perform a damage assessment for insurance purposes - Check for possible mold or potential for mold - Track all costs associated with the event for both insurance and emergency management reporting |
| Courses of Action: | Courses of action include descriptions of how you will accomplish the objectives listed above. This may be dependent on the size of your parish and the available resources. |